Calcein AM /PI Double Staining Kit

C272922

Product Description

Calcein AM /PI Double Staining Kit is utilized for simultaneous fluorescence staining of viable and dead cells. This kit contains Calcein-AM and Propidium Iodide (PI) solutions, which stains viable and dead cells, respectively. Calcein-AM, an acetoxymethyl ester of calcein, is highly lipophilic and cell membrane permeable. Though Calcein-AM itself is not a fluorescent molecule, the calcein generated from Calcein-AM by esterase in a viable cell emits a strong green fluorescence (excitation at 490 nm, emission at 515 nm). Therefore, Calcein-AM only stains viable cells. On the other hand, PI, a nuclei staining dye, cannot pass through a viable cell membrane. It reaches the nucleus by passing through disordered areas of dead cell membrane, and intercalates with the DNA double helix of the cell to emit red fluorescence (excitation: 535 nm, emmision: 617 nm). Since both calcein and PI-DNA can be excited with 490 nm, simultaneous monitoring of viable and dead cells is possible with a fluorescence microscope. With 545 nm excitation, only dead cells can be observed. Since optimal staining conditions differ from cell line to cell line, we recommend that a suitable concentration of PI and Calcein- AM be individually determined.

Reagent

Unit Size #500 assays ：Calcein-AM 4mM 50uL in DMSO x 2 pieces;·PI (2mM) 150uL in water x 2 pieces

Required Equipment and Materials

Microscope with 490 nm excitation filter and 530 nm emission filter； CO2 incubator；10 μl and 200 μl adjustable pipettes, PBS

Solution A (Calcein-AM)；Solution B (PI) Storage Condition: -20oC ；Shipping Condition: blue ice

Application: Assay Procedure

Observe cell morphology using a fluorescence microscope. Taking HeLa cell staining as an example, please note that different cell types and concentrations have different observation conditions. Explore the optimal conditions for cell adhesion and reagent concentration under different cell conditions.

1) Equilibrate Calcein AM stock solution and PI stock solution to room temperature.

2) Add 2.5 µ l Calcein AM solution and 12.5 µ l PI solution separately to 5 mL PBS (pH=7.4) to prepare the staining working solution. The concentration of Calcein AM in the staining solution is 2 µ mol/L, and the concentration of PI is approximately 5 µ mol/L.

2. Cell staining

1) When staining adherent cells such as HeLa cells, digest the cells with Trypsin EDTA and prepare a cell suspension.

2) Centrifuge the cell suspension for 3 minutes at 1000 rpm.

3) Remove the supernatant, add PBS buffer, adjust the cell count to 105-106 cells/ml. Then mix thoroughly with a pipette.

4) Due to the presence of esterases in the serum and other components of the culture medium, Calcein AM will decompose when exposed to water, leading to an increase in the blank. Therefore, it is necessary to centrifuge several times and wash with PBS several times until completely washed.

5) Transfer 200 µ l of cell suspension to a small test tube, add 100 µ l of staining solution, and incubate at 37 ℃ for 15 minutes.

6) Add an appropriate amount of stained cell solution onto the cover glass.

7) Under a fluorescence microscope, first excite with a wavelength of 490 ± 10 nm to observe live yellow green cells, and also observe dead red cells. Then excite with a wavelength of 545 nm to see dead red cells.

3. Optimal concentration of staining reagents

The following steps may be necessary to optimize the suitable concentration of each reagent:

1)Prepare dead cells by 10 min incubation in 0.1% saponin or 0.1-0.5% digitonin or by 30 min incubation in 70% ethanol.

2)Stain dead cells with 0.1-10 μM PI solution to find a PI concentration that stains the nucleus only, not the cytosol.

Stain dead cells with 0.1-10 μM Calcein-AM solution to find a Calcein-AM concentration that does not stain the cytosol. Then stain viable cells with that Calcein-AM solution to check whether the viable cell can be stained.

Precautions

1)The ester part of Calcein AM will decompose when exposed to moisture. After use, please store it in a sealed freezer at -20 degrees Celsius to prevent moisture from entering. When diluting Calcein AM stock solution with buffer or culture medium, try to prepare and use it immediately.

2)When using, be sure to wear gloves, eye masks, and masks. If it comes into contact with the skin, quickly rinse with plenty of water.